## 1-sheet
MIA single-sheet prototype | [7 empty] | v. 1.03
Operatiing hours 7 days / week | 18
Floor area: | 7000
Public areas (less rink): | 1500
Capital Improved Value — min.: | 10000000
Capital Improved Value — max: | 15000000
| / yr | / mth | Rate | Unit | $/mth | $/yr | % std | %low-e
Energy costs | 1500000 | 125000 | 0.16718 | $/KWh | 20897 | 250764 | 46.43%
— refrigeration (KWh) | 750000 | 62500 | 0.167 | $/KWh | 10437.5 | 125250
— lighting, heat, supply charge (KWh) | 750000 | 62500 | 0.167 | $/KWh | 10459.5 | 125514
Water | 6028329 | 502360.75 | 0.075 | c/litre | 376.7706 | 4521.2468 | 0.8371%
— rink water (litres) | 3028329 | 252360.75 | 0.075 | c/litre | 189.2706 | 2271.2467
— other water (litres) [5] | 3000000 | 250000 | 0.075 | c/litre | 187.5 | 2250
Sewerage (litres) [6] | 5848329 | 487360.75 | 0.901 | c/kL | 689.112 | 8269.3444 | 1.531%
Rates + Insurances |  |  |  |  | 5128.125 | 61537.5 | 11.39% | 14.61%
— insurance, liability + property |  |  |  |  | 1650 | 19800
— council rates (max CIV) |  |  | 0.23825 | /CIV | 2978.125 | 35737.5
— other taxes, fees |  |  |  |  | 500 | 6000
Communications (allowance) |  |  |  |  | 2500 | 5000 | 0.9258% | 1.187%
Cleaning + maintenance |  |  |  |  | 2350 | 28200 | 5.221% | 6.696%
— cleaning supplies |  |  |  |  | 500 | 6000
— rubbish removal |  |  |  |  | 350 | 4200
— facility maintenance |  |  |  |  | 1500 | 18000
Core staff ($ wages) |  |  | 158.37 | hrs | 15149.0733 | 181788.88 | 33.66% | 43.17%
— general manager |  |  | 40 | hrs | 4853.3333 | 58240
— operations supervisor |  |  | 39.5 | hrs | 4450.3333 | 53404
— sales coordinator/secretary |  |  | 35 | hrs | 2881.6667 | 34580
— operations (2 or 3 part-time) |  |  | 12.37 | hrs | 643.24 | 7718.88
— maintenance (part-time) |  |  | 31.5 | hrs | 2320.5 | 27846
Sub-totals — running costs |  |  |  |  | 47090.0809 | 540080.9712 | 100%
— adjust council rates (min CIV) |  |  |  |  | -992.7083 | -11912.5
— add min. debt service (30 yrs) |  |  | 0.09 | 360 | 80462.2617 | 965547.1403
Totals (min) — conventional |  |  |  |  | 126559.6343 | 1493715.6115
— add max. debt service (30 yrs) |  |  | 0.09 | 360 | 120693.3925 | 1448320.7105
Totals (max) — conventional |  |  |  |  | 167783.4735 | 1988401.6817
Energy after savings (KWh) | 834000 | 69500 | 0.167 | $/KWh | 11606.5 | 139278 |  | 33.07%
— heat recovery system (KWh) [1] | 750000 | 62500 | 0.167 | $/KWh | 10437.5 | 125250
— low-e ceiling (KWh) [2] | 40000 | 3333.3333 | 0.167 | $/KWh | 556.6667 | 6680
— brine pump cycling control (KWh) [3] | 44000 | 3666.6667 | 0.167 | $/KWh | 612.3333 | 7348
Water after savings (litres) | 1500000 | 125000 | 0.075 | c/litre | 93.75 | 1125 |  | 0.2671%
— rink water (litres) [4] | 0 | 0 | 0.075 | c/litre | 0 | 0
— other water (litres) [4, 5] | 1500000 | 125000 | 0.075 | c/litre | 93.75 | 1125
Sewerage after savings (litres) [6] | 1320000 | 110000 | 0.901 | c/kL | 349.11 | 4189.32 |  | 0.9948%
Sub-totals — running costs |  |  |  |  | 37176.5583 | 421118.7 |  | 100%
— adjust council rates (min CIV) |  |  |  |  | -992.7083 | -11912.5
— add min. debt service (30 yrs) |  |  | 0.09 | 360 | 80462.2617 | 965547.1403
Totals (min) — low-e |  |  |  |  | 116646.1117 | 1374753.3403
— add debt service (30 yrs) |  |  | 0.09 | 360 | 120693.3925 | 1448320.7105
Totals (max) — low-e |  |  |  |  | 157869.9509 | 1869439.4105
[1] Uses recycled rink waste heat and geothermal heat (rock/ ground). 50% to 73% less primary energy.
[2] Aluminium foil, fibreglass and fire-resistant material to reduce heat radiating from the warm ceiling to the ice by 90-95%
[3] Energy savings achieved through controllers cycling the brine pump in sequence with the compressors.
[4] Collected free from roof and stored in tanks. Tank water also used for greywater system (ie., 'Other water' reductions).
[5] Based on DEH public building average water consumption benchmark for public areas (3.34 kL/sqm p a)
[6] Based on water supplied to the property less an "allowance" of 180 KL with excess charged at $0.901 cents/KL.
Staff rates | $/hr | hrs | /wk | /mth | /yr
gm | 28 | 40 | 1120 | 4853.3333 | 58240
op sup | 26.2277 | 40 | 1049.1087 | 4546.1377 | 54553.6521
sales | 18.5137 | 40 | 740.5473 | 3209.0384 | 38508.4603
maintenance | 16.9709 | 40 | 678.835 | 2941.6185 | 35299.422
ops | 12.3425 | 40 | 493.6982 | 2139.3589 | 25672.3069
front desk attendant | 12
head program instructor
instructor
| Mon - Fri (hrs) |  | Sat - Sun (hrs) |  |  | Totals (hrs) |  |  |  | Payroll ($)
Typical work schedule: 1-sheet | 7am - 4pm | 4pm - 12am | 7am - 3pm | 3pm - 11pm | Mon - Fri | Sat - Sun | Weekly | $/hr | /wk | /mth | /yr
Cover Hrs | 9 | 8 | 8 | 8 | 85 | 32 | 117
General manager | 2.4 | 4 | 4 | 4 | 32 | 8 | 40 | 28 | 1120 | 4853.3333 | 58240
Operations supervisor |  | 6.3 | 4 | 4 | 31.5 | 8 | 39.5 | 26 | 1027 | 4450.3333 | 53404
Maintenance Specialists | 3 | 1.7 | 4 | 4 | 23.5 | 8 | 31.5 | 17 | 535.5 | 2320.5 | 27846
Sales/secretary | 7 |  |  |  | 35 | 0 | 35 | 19 | 665 | 2881.6667 | 34580
Front Desk Attendant |  |  |  |  | 0 | 0 | 0 | 12 | 0 | 0 | 0
Operations Attendant |  | 0.874 | 4 | 4 | 4.37 | 8 | 12.37 | 12 | 148.44 | 643.24 | 7718.88
Maint/pro shop |  |  |  | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0
Program Personnel |  | ar-v | ar-v | ar-v | ar-v | ar-v | ar-v
Skating instructors 1:8 ratio — p-t |  | ar-v | ar-v | ar-v | ar-v | ar-v | ar-v
Off-ice program — p-t |  | ar-v | ar-v | ar-v | ar-v | ar-v | ar-v
|  |  |  | Totals | 126.37 | 32 | 158.37 |  | 3495.94 | 15149.0733 | 181788.88
Revenues
Task
Front desk — AM p-t
Front desk — PM p-t
Maint/resurface — AM p-t
Maint/resurface — AM p-t
Maint/resurface — PM p-t
Maint/resurface — PM p-t
Maint extra — p-t
Maint/Pro-shop — p-t
Skate guard — p-t
Skate guard — p-t
On-ice program help — p-t
Off-ice program — p-t
Skating instructors 1:8 ratio — p-t
Skating instructors 1:8 ratio — p-t
Referee — 2 p-t
Timekeeper — p-t
Supervisor — f-t
Program supervisor — f-t

## 2-sheet
| Mon - Fri (hrs) |  | Sat - Sun (hrs) |  |  | Totals (hrs) |  |  |  | Payroll ($)
Typical work schedule: 2-sheet | 7am - 4pm | 4pm - 12am | 7am - 3pm | 3pm - 11pm | Mon - Fri | Sat - Sun | Weekly | $/hr | /wk | /mth | /yr
Cover Hrs | 9 | 8 | 8 | 8 | 85 | 32 | 117
General manager |  | 6.3 | 4 | 4 | 31.5 | 8 | 39.5 | 28 | 1106 | 4792.6667 | 57512
Operations supervisor |  | 6.3 | 4 | 4 | 31.5 | 8 | 39.5 | 26 | 1027 | 4450.3333 | 53404
Maintenance Specialists | 9 | 1.7 | 4 | 4 | 53.5 | 8 | 61.5 | 17 | 1045.5 | 4530.5 | 54366
Sales/secretary | 7 |  |  |  | 35 | 0 | 35 | 19 | 665 | 2881.6667 | 34580
Front Desk Attendant |  | 8 | 8 | 8 | 40 | 16 | 56 | 12 | 672 | 2912 | 34944
Operations Attendant |  | 8 | 8 | 8 | 40 | 16 | 56 | 12 | 672 | 2912 | 34944
Maint/pro shop |  |  |  | 4 | 0 | 4 | 4 | 12 | 48 | 208 | 2496
Program Personnel
Skating instructors 1:8 ratio — p-t
Off-ice program — p-t
[8 empty] | Totals | 5235.5 | 22687.1667 | 272246